## READ ME FIRST
This Worksheet (Summary) is designed to provide a summary of the SWM design to confirm that the criteria are met. It consists of 6 (six) tabs, 5 (five) of which are mandatory to compelte, and 1 (one) is optional.
The completion of the Summary is required to facilitate the CLI-ECA pre-authorization process.
The completion of the Summary is required to accompany each SWM/FSR to speed up the review process by the Town's staff.
Cells highlighed in | will generate values, do not fill in
Cells highligted in | are blocked, do not fill in
Cells highligted in | include a drop down menu, please choose an appropriate value
Any questions on the Summary should be directed to
Ekaterina (Kate) Sapozhnikova, P.Eng. Senior Water Resources Engineer Transportation and Public Works Town of Halton Hills ¦ 1 Halton Hills Drive, Halton Hills, L7G 5G2 Office: 905-873-2600 x 2372 ¦ Cell: 905-875-6136 ksapozhnikova@haltonhills.ca ¦ haltonhills.ca

## SWM Summary
Summary of SWM Management Design
Name of Development / Location:
Submitted by:
Date of Submission:
Area | Total Drainage Area | 0 | ha
| Composite % imperviousness | 0 | %
| Total impervious area | 0 | ha
| External Drainage Area |  | ha
| Areas contributing to pond(s) | 0 | #DIV/0! | % of the total area
| Areas not contributing to pond(s)* |  | 0 | ha
| SWM Block size (pond(s) only) | 1 | #DIV/0! | % of the total area
Receiving Creek
* Ensure that allowable flows for controled areas are reduces to account for uncontrolled areas
Does a higher level study exist? |  | If Yes, select from dropdown: |  | Provide details:
Quantity Control Based on the higher level Study where exist |  | Required, unitary flows (cu.m./imp.ha per sec) |  | Provided for the CONTROLED areas (cu.m./sec) | Provided for the UNCONTROLED areas (cu.m./sec) | Provided for the TOTAL SITE (cu.m./sec) | Check
|  | Design event | Flow Rate | Flow Rate | Flow Rate | Flow Rate
|  | 5-year storm |  |  |  |  | 0
|  | 10-year storm |  |  |  |  | 0
|  | 25-year storm |  |  |  |  | 0
|  | 50-year storm |  |  |  |  | 0
|  | 100-year storm |  |  |  |  | 0
|  | Regional Storm |  |  |  |  | 0
Quantity Control Where the higher level study does not exist |  | Design event | Required | Provided
Post- to Pre-
Downstream constraints
Quallity Control |  |  | Required | Provided | Have the Green Development Standards been Achieved?
Level of TSS Removal
Erosion Control PROVIDE ALL THAT APPLIES |  | Required |  |  | Provided |  | Check
|  | Type | Value | Units | Value | Units
|  | Erosion Threshold |  | cu.m/s |  | cu.m/s
|  | Erosion Control based on the 25 mm over 4 hours storm event |  | cu.m/s |  | cu.m/s
|  | Unitary Storage |  | cu.m/imp.ha |  | cu.m | 0
|  | Unitary Discharge Flow |  | cu.m/s/ha |  | cu.m/s/ha | 0
Volume Control PROVIDE ALL THAT APPLIES |  | NOTE: CLI-ECA stipulates volume control based on 27 mm of rainfall representing 90 percentile of rainfall
|  | Depth of rainfall retained as proposed by the SWM design * |  | mm | If the value of the PROPOSED rainfall retention is less than 27 mm, provide a HydroG report to confirm the depth of rainfall retained under the EXISTING conditions
* Provide the composite value for the total drainage area. Details should be provided for each feature under separate tabs below
|  |  | Exitsitng |  | Proposed
|  | Depth of rainfall retained |  | mm |  | mm
Treatment Train Details (If yes, please provide details on related tabs) |  | Dry Pond (1) | Wet Pond (1) | Engineered Wetland (1) | Hybrid Facility (1) | Underground Unit/Facility (2) | OGS (5) | Infiltration Basin (2) | Green Roof / Rooftop Garden (4) | Vegetated Filter Strips (3) | Pervious Catchbasins (2) | Pervious Pipes (2) | Engineered Grassed Swales (Bio Swale) (3) | Infiltration Trench (2) | Roof Leaders to Soakaway Pit (2) | Roof Leaders to Ponding Area (4) | Reduced Lot Grading (4) | Superpipe Storage (2) | Parking Lot Storage (4) | Rooftop Storage (4)
Yes or No
Total Number
Provide sources to find details related to the indicated features | Report (name, page)
Drawings
Design Storm | Specify design storm and methodology used for SWM design: | Minor system |  |  | Major system - conveyance |  |  | Major system - volume
Note: Minor system should be design based on the 5-year Rational Method, Major flows conveynace should be design based on the 100-year Rational Method, Major system volume system should be designed based on the 6-hours Chicago design storm
Modelling Info | Specify software used as part of the design:
Confirm if a ditigal copy was provided to the Town:
Benchmark | Location
Elevation (m)
Flow Monitoring if applicable | Specify location (MH, outlet pipe, control structure, eg.)
Type of the flow meters details
Additional Important Information to Assist with the Review and Explanation of the Proposed Design

## Ponds (1)
Pond #1
Location:
Stage - storage - discharge Summary |  | Elevation (m) | Depth (m) | Storage REQUIRED (cu.m) | Storage PROVIDED (cu.m) | ALLOWABLE release rate (cu.m/sec) | PROVIDED release rate (cu.m/sec) | Drawdown time, hr* | Sediment Drying Area | Provided? (yes or no) If No, the design must be updated to provide a sediment drying area. |  | Required (sq.m.) | Provided (sq.m.)
| Permanent pool (NWL) |  | 0
| Extended detention (ED) based on 25 mm storm or erosion control requirments |  | 0
| 2-year storm |  | 0
| 5-year storm |  | 0 | [5 empty] | Pond Surface area at the berm |  | (sq.m.)
| 10-year storm |  | 0
| 25-year storm |  | 0 | [5 empty] | Pond Block |  | (ha)
| 50-year storm |  | 0
| 100-year storm |  | 0 | [5 empty] | Area draining to the pond |  | ha
| Regional Storm (if required) |  | 0
| Emergency spillway |  | 0 | [5 empty] | Imperviousness of the drainage area |  | %
| Top of berm |  | 0
Groundwater Elevation, m |  | Is a pond liner required? |  | Is there a need for the hydrostatic pressure maintenance system for the pond de-watering activities?
Bottom of the Pond Elevation, m |  |  |  |  | If Yes: note that it is not a preferred design and all efforts must be made to avoid this design.
Inlet Configuration |  | Inlet 1 | Inlet 2 | Inlet 3 | Inlet 4
Invert (m)
Pipe Diameter (mm), or dimentions (mm)
Headwall (yes or no)
Outlet Configuration |  | Orifice 1 | Orifice 1 | Weir 1 | Weir 2 | Emergency Spillway
Invert (m)
Pipe Diameter (mm), or dimentions (mm)
Level of control
Pond Shape | Side Slope | Below permanent pool level
Above permanent pool level
Length to Width Ratio at Permanent Pool Elevation
Pond #2:
Location:
Stage - storage - discharge Summary |  | Elevation (m) | Depth (m) | Storage REQUIRED (cu.m) | Storage PROVIDED (cu.m) | ALLOWABLE release rate (cu.m/sec) | PROVIDED release rate (cu.m/sec) | Drawdown time, hr* | Sediment Drying Area | Provided? (yes or no) If No, the design must be updated to provide a sediment drying area. |  | Required (sq.m.) | Provided (sq.m.)
| Permanent pool (NWL) |  | 0
| Extended detention (ED) based on 25 mm storm or erosion control requirments |  | 0
| 2-year storm |  | 0
| 5-year storm |  | 0 | [5 empty] | Pond Surface area at the berm |  | (sq.m.)
| 10-year storm |  | 0
| 25-year storm |  | 0 | [5 empty] | Pond Block |  | (ha)
| 50-year storm |  | 0
| 100-year storm |  | 0 | [5 empty] | Area draining to the pond |  | ha
| Regional Storm (if required) |  | 0
| Emergency spillway |  | 0 | [5 empty] | Imperviousness of the drainage area |  | %
| Top of berm |  | 0
Groundwater Elevation, m |  | Is a pond liner required? |  | Is there a need for the hydrostatic pressure maintenance system for the pond de-watering activities?
Bottom of the Pond Elevation, m |  |  |  |  | If Yes: note that it is not a preferred design and all efforts must be made to avoid this design.
Inlet Configuration |  | Inlet 1 | Inlet 2 | Inlet 3 | Inlet 4
Invert (m)
Pipe Diameter (mm), or dimentions (mm)
Headwall (yes or no)
Outlet Configuration |  | Orifice 1 | Orifice 1 | Weir 1 | Weir 2 | Emergency Spillway
Invert (m)
Pipe Diameter (mm), or dimentions (mm)
Level of control
Pond Shape | Side Slope | Below permanent pool level
Above permanent pool level
Length to Width Ratio at Permanent Pool Elevation
Pond #3:
Location:
Stage - storage - discharge Summary |  | Elevation (m) | Depth (m) | Storage required (cu.m) | Storage Provided (cu.m) | Allowable release rate (cu.m/sec) | Provided release rate (cu.m/sec) | Drawdown time, hr* | Sediment Drying Area | Provided? (yes or no) If No, the design must be updated to provide a sediment drying area. |  | Required (sq.m.) | Provided (sq.m.)
| Permanent pool (NWL) |  | 0
| Extended detention (ED) based on 25 mm storm or erosion control requirments |  | 0
| 2-year storm |  | 0
| 5-year storm |  | 0 | [5 empty] | Pond Surface area at the berm |  | (sq.m.)
| 10-year storm |  | 0
| 25-year storm |  | 0 | [5 empty] | Pond Block |  | (ha)
| 50-year storm |  | 0
| 100-year storm |  | 0 | [5 empty] | Area draining to the pond |  | ha
| Regional Storm (if required) |  | 0
| Emergency spillway |  | 0 | [5 empty] | Imperviousness of the drainage area |  | %
| Top of berm |  | 0
Groundwater Elevation, m |  | Is a pond liner required? |  | Is there a need for the hydrostatic pressure maintenance system for the pond de-watering activities?
Bottom of the Pond Elevation, m |  |  |  |  | If Yes: note that it is not a preferred design and all efforts must be made to avoid this design.
Inlet Configuration |  | Inlet 1 | Inlet 2 | Inlet 3 | Inlet 4
Invert (m)
Pipe Diameter (mm), or dimentions (mm)
Headwall (yes or no)
Outlet Configuration |  | Orifice 1 | Orifice 1 | Weir 1 | Weir 2 | Emergency Spillway
Invert (m)
Pipe Diameter (mm), or dimentions (mm)
Level of control
Pond Shape | Side Slope | Below permanent pool level
Above permanent pool level
Length to Width Ratio at Permanent Pool Elevation
Pond #4:
Location:
Stage - storage - discharge Summary |  | Elevation (m) | Depth (m) | Storage required (cu.m) | Storage Provided (cu.m) | Allowable release rate (cu.m/sec) | Provided release rate (cu.m/sec) | Drawdown time, hr* | Sediment Drying Area | Provided? (yes or no) If No, the design must be updated to provide a sediment drying area. |  | Required (sq.m.) | Provided (sq.m.)
| Permanent pool (NWL) |  | 0
| Extended detention (ED) based on 25 mm storm or erosion control requirments |  | 0
| 2-year storm |  | 0
| 5-year storm |  | 0 | [5 empty] | Pond Surface area at the berm |  | (sq.m.)
| 10-year storm |  | 0
| 25-year storm |  | 0 | [5 empty] | Pond Block |  | (ha)
| 50-year storm |  | 0
| 100-year storm |  | 0 | [5 empty] | Area draining to the pond |  | ha
| Regional Storm (if required) |  | 0
| Emergency spillway |  | 0 | [5 empty] | Imperviousness of the drainage area |  | %
| Top of berm |  | 0
Groundwater Elevation, m |  | Is a pond liner required? |  | Is there a need for the hydrostatic pressure maintenance system for the pond de-watering activities?
Bottom of the Pond Elevation, m |  |  |  |  | If Yes: note that it is not a preferred design and all efforts must be made to avoid this design.
Inlet Configuration |  | Inlet 1 | Inlet 2 | Inlet 3 | Inlet 4
Invert (m)
Pipe Diameter (mm), or dimentions (mm)
Headwall (yes or no)
Outlet Configuration |  | Orifice 1 | Orifice 1 | Weir 1 | Weir 2 | Emergency Spillway
Invert (m)
Pipe Diameter (mm), or dimentions (mm)
Level of control
Pond Shape | Side Slope | Below permanent pool level
Above permanent pool level
Length to Width Ratio at Permanent Pool Elevation

## Underground Facilities (2)
Underground Storage Unit |  |  | Fill out what is applicable based on the type of the storage provided
Drainage Area |  | ha |  |  | Stage-storage-discharge Summary | Specify the design requirments | Volume REQUIRED, cu.m | Volume PROVIDED, cu.m | Total depth, m | ALLOWABLE discharge rate, cu.m/sec | PROVIDED discharge rate, cu.m/sec | Drawdown Time (hr)
Location
Desribtion
Source of Runoff |  |  |  |  | Configurations of the inlet and outlet |  | Inlet | Outlet | Flow restriction
Elevation, m
Pre-Treatment |  | Provide details: |  |  |  | Pipe Diameter (mm)
Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall
Is liner required? |  |  | yes/no
Is liner provided? |  |  | yes/no
Insulated? |  |  | yes/no
Distance between inlet/outlet |  |  | (m)
Observation Well |  |  | yes/no
Maintenance Frequency |  |  | (years)
The closest distance to any foundation/ structure/ other LID |  |  | m
Underground Storage Unit
Drainage Area |  | ha |  |  | Stage-storage-discharge Summary | Specify the design requirments | Volume REQUIRED, cu.m | Volume PROVIDED, cu.m | Total depth, m | ALLOWABLE discharge rate, cu.m/sec | PROVIDED discharge rate, cu.m/sec | Drawdown Time (hr)
Location
Desribtion
Source of Runoff |  |  |  |  | Configurations of the inlet and outlet |  | Inlet | Outlet | Flow restriction
Elevation, m
Pre-Treatment |  | Provide details: |  |  |  | Pipe Diameter (mm)
Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall
Is liner required? |  |  | yes/no
Is liner provided? |  |  | yes/no
Insulated? |  |  | yes/no
Distance between inlet/outlet |  |  | (m)
Observation Well |  |  | yes/no
Maintenance Frequency |  |  | (years)
The closest distance to any foundation/ structure/ other LID |  |  | m
Underground Storage Unit
Drainage Area |  | ha |  |  | Stage-storage-discharge Summary | Specify the design requirments | Volume REQUIRED, cu.m | Volume PROVIDED, cu.m | Total depth, m | ALLOWABLE discharge rate, cu.m/sec | PROVIDED discharge rate, cu.m/sec | Drawdown Time (hr)
Location
Desribtion
Source of Runoff |  |  |  |  | Configurations of the inlet and outlet |  | Inlet | Outlet | Flow restriction
Elevation, m
Pre-Treatment |  | Provide details: |  |  |  | Pipe Diameter (mm)
Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall
Is liner required? |  |  | yes/no
Is liner provided? |  |  | yes/no
Insulated? |  |  | yes/no
Distance between inlet/outlet |  |  | (m)
Observation Well |  |  | yes/no
Maintenance Frequency |  |  | (years)
The closest distance to any foundation/ structure/ other LID |  |  | m
Underground Storage Unit
Drainage Area |  | ha |  |  | Stage-storage-discharge Summary | Specify the design requirments | Volume REQUIRED, cu.m | Volume PROVIDED, cu.m | Total depth, m | ALLOWABLE discharge rate, cu.m/sec | PROVIDED discharge rate, cu.m/sec | Drawdown Time (hr)
Location
Desribtion
Source of Runoff |  |  |  |  | Configurations of the inlet and outlet |  | Inlet | Outlet | Flow restriction
Elevation, m
Pre-Treatment |  | Provide details: |  |  |  | Pipe Diameter (mm)
Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall
Is liner required? |  |  | yes/no
Is liner provided? |  |  | yes/no
Insulated? |  |  | yes/no
Distance between inlet/outlet |  |  | (m)
Observation Well |  |  | yes/no
Maintenance Frequency |  |  | (years)
The closest distance to any foundation/ structure/ other LID |  |  | m
Underground Storage Unit
Drainage Area |  | ha |  |  | Stage-storage-discharge Summary | Specify the design requirments | Volume REQUIRED, cu.m | Volume PROVIDED, cu.m | Total depth, m | ALLOWABLE discharge rate, cu.m/sec | PROVIDED discharge rate, cu.m/sec | Drawdown Time (hr)
Location
Desribtion
Source of Runoff |  |  |  |  | Configurations of the inlet and outlet |  | Inlet | Outlet | Flow restriction
Elevation, m
Pre-Treatment |  | Provide details: |  |  |  | Pipe Diameter (mm)
Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall
Is liner required? |  |  | yes/no
Is liner provided? |  |  | yes/no
Insulated? |  |  | yes/no
Distance between inlet/outlet |  |  | (m)
Observation Well |  |  | yes/no
Maintenance Frequency |  |  | (years)
The closest distance to any foundation/ structure/ other LID |  |  | m
Underground Storage Unit
Drainage Area |  | ha |  |  | Stage-storage-discharge Summary | Specify the design requirments | Volume REQUIRED, cu.m | Volume PROVIDED, cu.m | Total depth, m | ALLOWABLE discharge rate, cu.m/sec | PROVIDED discharge rate, cu.m/sec | Drawdown Time (hr)
Location
Desribtion
Source of Runoff |  |  |  |  | Configurations of the inlet and outlet |  | Inlet | Outlet | Flow restriction
Elevation, m
Pre-Treatment |  | Provide details: |  |  |  | Pipe Diameter (mm)
Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall
Is liner required? |  |  | yes/no
Is liner provided? |  |  | yes/no
Insulated? |  |  | yes/no
Distance between inlet/outlet |  |  | (m)
Observation Well |  |  | yes/no
Maintenance Frequency |  |  | (years)
The closest distance to any foundation/ structure/ other LID |  |  | m
Underground Storage Unit
Drainage Area |  | ha |  |  | Stage-storage-discharge Summary | Specify the design requirments | Volume REQUIRED, cu.m | Volume PROVIDED, cu.m | Total depth, m | ALLOWABLE discharge rate, cu.m/sec | PROVIDED discharge rate, cu.m/sec | Drawdown Time (hr)
Location
Desribtion
Source of Runoff |  |  |  |  | Configurations of the inlet and outlet |  | Inlet | Outlet | Flow restriction
Elevation, m
Pre-Treatment |  | Provide details: |  |  |  | Pipe Diameter (mm)
Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall
Is liner required? |  |  | yes/no
Is liner provided? |  |  | yes/no
Insulated? |  |  | yes/no
Distance between inlet/outlet |  |  | (m)
Observation Well |  |  | yes/no
Maintenance Frequency |  |  | (years)
The closest distance to any foundation/ structure/ other LID |  |  | m

## Swales (3)
Bioswale |  |  |  |  | Bioswale
Drainage Area |  | (ha) |  |  | Drainage Area |  | (ha)
Location or description |  |  |  |  | Location or description
Source of runoff |  |  |  |  | Source of runoff
Pre-Treatment |  | Provide details: |  |  | Pre-Treatment |  | Provide details:
Length |  | (m) |  |  | Length |  | (m)
Depth |  | (m) |  |  | Depth |  | (m)
Width |  | (m) |  |  | Width |  | (m)
Gradient |  | m/m or % |  |  | Gradient |  | m/m or %
Depth of the substrate |  | (m) |  |  | Depth of the substrate |  | (m)
Native soil perculation rate |  | mm/hr |  |  | Native soil perculation rate |  | mm/hr
Volume above ground |  | cu.m |  |  | Volume above ground |  | cu.m
Volume under ground |  | cu.m |  |  | Volume under ground |  | cu.m
Drawdown time |  | hr |  |  | Drawdown time |  | hr
Observation Well |  | yes/no |  |  | Observation Well |  | yes/no
Maintenance Frequency |  | (years) |  |  | Maintenance Frequency |  | (years)
Elevations | Bottom of the LID |  | (m) |  | Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m) |  |  | Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m) |  |  | Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm | LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm |  | Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm |  | Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall |  | Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall
Bioswale |  |  |  |  | Bioswale
Drainage Area |  | (ha) |  |  | Drainage Area |  | (ha)
Location or description |  |  |  |  | Location or description
Source of runoff |  |  |  |  | Source of runoff
Pre-Treatment |  | Provide details: |  |  | Pre-Treatment |  | Provide details:
Length |  | (m) |  |  | Length |  | (m)
Depth |  | (m) |  |  | Depth |  | (m)
Width |  | (m) |  |  | Width |  | (m)
Gradient |  | m/m or % |  |  | Gradient |  | m/m or %
Depth of the substrate |  | (m) |  |  | Depth of the substrate |  | (m)
Native soil perculation rate |  | mm/hr |  |  | Native soil perculation rate |  | mm/hr
Volume above ground |  | cu.m |  |  | Volume above ground |  | cu.m
Volume under ground |  | cu.m |  |  | Volume under ground |  | cu.m
Drawdown time |  | hr |  |  | Drawdown time |  | hr
Observation Well |  | yes/no |  |  | Observation Well |  | yes/no
Maintenance Frequency |  | (years) |  |  | Maintenance Frequency |  | (years)
Elevations | Bottom of the LID |  | (m) |  | Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m) |  |  | Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m) |  |  | Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm | LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm |  | Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm |  | Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall |  | Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall
Bioswale |  |  |  |  | Bioswale
Drainage Area |  | (ha) |  |  | Drainage Area |  | (ha)
Location or description |  |  |  |  | Location or description
Source of runoff |  |  |  |  | Source of runoff
Pre-Treatment |  | Provide details: |  |  | Pre-Treatment |  | Provide details:
Length |  | (m) |  |  | Length |  | (m)
Depth |  | (m) |  |  | Depth |  | (m)
Width |  | (m) |  |  | Width |  | (m)
Gradient |  | m/m or % |  |  | Gradient |  | m/m or %
Depth of the substrate |  | (m) |  |  | Depth of the substrate |  | (m)
Native soil perculation rate |  | mm/hr |  |  | Native soil perculation rate |  | mm/hr
Volume above ground |  | cu.m |  |  | Volume above ground |  | cu.m
Volume under ground |  | cu.m |  |  | Volume under ground |  | cu.m
Drawdown time |  | hr |  |  | Drawdown time |  | hr
Observation Well |  | yes/no |  |  | Observation Well |  | yes/no
Maintenance Frequency |  | (years) |  |  | Maintenance Frequency |  | (years)
Elevations | Bottom of the LID |  | (m) |  | Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m) |  |  | Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m) |  |  | Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm | LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm |  | Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm |  | Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall |  | Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall
Bioswale |  |  |  |  | Bioswale
Drainage Area |  | (ha) |  |  | Drainage Area |  | (ha)
Location or description |  |  |  |  | Location or description
Source of runoff |  |  |  |  | Source of runoff
Pre-Treatment |  | Provide details: |  |  | Pre-Treatment |  | Provide details:
Length |  | (m) |  |  | Length |  | (m)
Depth |  | (m) |  |  | Depth |  | (m)
Width |  | (m) |  |  | Width |  | (m)
Gradient |  | m/m or % |  |  | Gradient |  | m/m or %
Depth of the substrate |  | (m) |  |  | Depth of the substrate |  | (m)
Native soil perculation rate |  | mm/hr |  |  | Native soil perculation rate |  | mm/hr
Volume above ground |  | cu.m |  |  | Volume above ground |  | cu.m
Volume under ground |  | cu.m |  |  | Volume under ground |  | cu.m
Drawdown time |  | hr |  |  | Drawdown time |  | hr
Observation Well |  | yes/no |  |  | Observation Well |  | yes/no
Maintenance Frequency |  | (years) |  |  | Maintenance Frequency |  | (years)
Elevations | Bottom of the LID |  | (m) |  | Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m) |  |  | Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m) |  |  | Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm | LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm |  | Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm |  | Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall |  | Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall
Bioswale |  |  |  |  | Bioswale
Drainage Area |  | (ha) |  |  | Drainage Area |  | (ha)
Location or description |  |  |  |  | Location or description
Source of runoff |  |  |  |  | Source of runoff
Pre-Treatment |  | Provide details: |  |  | Pre-Treatment |  | Provide details:
Length |  | (m) |  |  | Length |  | (m)
Depth |  | (m) |  |  | Depth |  | (m)
Width |  | (m) |  |  | Width |  | (m)
Gradient |  | m/m or % |  |  | Gradient |  | m/m or %
Depth of the substrate |  | (m) |  |  | Depth of the substrate |  | (m)
Native soil perculation rate |  | mm/hr |  |  | Native soil perculation rate |  | mm/hr
Volume above ground |  | cu.m |  |  | Volume above ground |  | cu.m
Volume under ground |  | cu.m |  |  | Volume under ground |  | cu.m
Drawdown time |  | hr |  |  | Drawdown time |  | hr
Observation Well |  | yes/no |  |  | Observation Well |  | yes/no
Maintenance Frequency |  | (years) |  |  | Maintenance Frequency |  | (years)
Elevations | Bottom of the LID |  | (m) |  | Elevations | Bottom of the LID |  | (m)
| Groundwater / Bedrock |  | (m) |  |  | Groundwater / Bedrock |  | (m)
| Overflow Pipe Inv. |  | (m) |  |  | Overflow Pipe Inv. |  | (m)
LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm | LID Mechanisms as part of Volume control | Evapotranspiration |  | yes/no | mm
| Infiltration into the Ground |  | yes/no | mm |  | Infiltration into the Ground |  | yes/no | mm
| Filtration |  | yes/no | mm |  | Filtration |  | yes/no | mm
Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall |  | Total Volume Control for the drainage area |  |  | mm of rain / % of rainfall

## Parking Lots and Rooftops (4)
Parking Lot Storage or Rooftop Storage |  | Parking Lot Storage or Rooftop Storage
Select LID Type: | or Other: | Select LID Type: | or Other:
Specify the location |  | Specify the location
Drainage Area | (ha) | Drainage Area | (ha)
Length | (m) | Length | (m)
Depth | (m) | Depth | (m)
Width | (m) | Width | (m)
Area | sq.m | Area | sq.m
Drawdown time | hours | Drawdown time | hours
Max. depth of flooding | mm | Max. depth of flooding | mm
Specify the discharge location (STM, watercourse) |  | Specify the discharge location (STM, watercourse)
Allowable discharge | (cu.m/s) | Allowable discharge | (cu.m/s)
Drawdown Time - parking lot | (hr) | Drawdown Time - parking lot | (hr)
Drawdown Time - rooftop | (hr) | Drawdown Time - rooftop | (hr)
Maintenance Frequency | (years) | Maintenance Frequency | (years)
Level of Control |  | Level of Control
Pre-Treatment | If yes, provide details: | Pre-Treatment | If yes, provide details:
Parking Lot Storage or Rooftop Storage |  | Parking Lot Storage or Rooftop Storage
Select LID Type: | or Other: | Select LID Type: | or Other:
Specify the location |  | Specify the location
Drainage Area | (ha) | Drainage Area | (ha)
Length | (m) | Length | (m)
Depth | (m) | Depth | (m)
Width | (m) | Width | (m)
Area | sq.m | Area | sq.m
Drawdown time | hours | Drawdown time | hours
Max. depth of flooding | mm | Max. depth of flooding | mm
Specify the discharge location (STM, watercourse) |  | Specify the discharge location (STM, watercourse)
Allowable discharge | (cu.m/s) | Allowable discharge | (cu.m/s)
Drawdown Time - parking lot | (hr) | Drawdown Time - parking lot | (hr)
Drawdown Time - rooftop | (hr) | Drawdown Time - rooftop | (hr)
Maintenance Frequency | (years) | Maintenance Frequency | (years)
Level of Control |  | Level of Control
Pre-Treatment | If yes, provide details: | Pre-Treatment | If yes, provide details:

## OGS (5)-optional
Mechanical Treatment Device (MTD)
OGS #1 |  | OGS #2
Drainage Area | (ha) | Drainage Area | (ha)
Imperviousness | % | Imperviousness | %
Installation / MH ID |  | Installation / MH ID
Type of OGS |  | Type of OGS
Model |  | Model
Efficiency | % of TSS Removal | Efficiency | % of TSS Removal
Volume for Sediment | (L) | Volume for Sediment | (L)
Volume for Oil | (L) | Volume for Oil | (L)
Total Storage Volume | (L) | Total Storage Volume | (L)
Maintenance Frequency | (years) | Maintenance Frequency | (years)
OGS #3 |  | OGS #4
Drainage Area | (ha) | Drainage Area | (ha)
Imperviousness | % | Imperviousness | %
Installation / MH ID |  | Installation / MH ID
Type of OGS |  | Type of OGS
Model |  | Model
Efficiency | % of TSS Removal | Efficiency | % of TSS Removal
Volume for Sediment | (L) | Volume for Sediment | (L)
Volume for Oil | (L) | Volume for Oil | (L)
Total Storage Volume | (L) | Total Storage Volume | (L)
Maintenance Frequency | (years) | Maintenance Frequency | (years)
OGS #5 |  | OGS #6
Drainage Area | (ha) | Drainage Area | (ha)
Imperviousness | % | Imperviousness | %
Installation / MH ID |  | Installation / MH ID
Type of OGS |  | Type of OGS
Model |  | Model
Efficiency | % of TSS Removal | Efficiency | % of TSS Removal
Volume for Sediment | (L) | Volume for Sediment | (L)
Volume for Oil | (L) | Volume for Oil | (L)
Total Storage Volume | (L) | Total Storage Volume | (L)
Maintenance Frequency | (years) | Maintenance Frequency | (years)

## Sheet3 (hidden)
Grass Swale |  | Infiltration Basin |  |  | Dry Pond
Soakaway Pit |  | Infiltration Trench |  |  | Engineered Grassed Swales / Bioswale
Infiltration Trench |  | Pervious Catchbasin |  |  | Engineered Wetland
|  | Pervious Pipes |  |  | Filtration MTD
|  | Superpipe Storage |  |  | Green Roofs/Rooftop Gardens
Yes | OGS | Undergroud Unit |  |  | Hybrid Facility
No | Filtration Device |  |  |  | Infiltration Basin
Infiltration Trench
Black Creek |  | SSWS |  |  | LID that relies on either Evapotranspiration, Infiltration into the ground, and/or Filtration
Credit River |  | SIS |  |  | Natural Buffer Strips
Fairy Lake |  |  |  |  | Parking Lot Storage
Mullet Creek |  |  |  |  | Pervious Catchbasins
Silver Creek |  |  |  |  | Pervious Pipes | Engineered Grassed Swales / Bioswale
Sixteen Mile Creek |  |  |  |  | Reduced Lot Grading | Green Roofs/Rooftop Gardens
[5 empty] | Roof Leader To Ponding Area | Natural Buffer Strips
10-year storm | 5-year storm |  |  |  | Roof Leader To Soakaway Pit | Parking Lot Storage
25-year storm | 10-year storm |  |  |  | Rooftop Storage | Reduced Lot Grading
50-year storm | 25-year storm |  |  |  | Sedimentation MTD - OGS | Roof Leader To Ponding Area
100-year storm | 50-year storm |  |  |  | Superpipe Storage | Rooftop Storage
Regional Storm | 100-year storm |  |  |  |  | Vegetated Filter Strips
No quantity control is required | Regional Storm |  |  |  | Wet Pond
Level 1 - 80%
Level 2 - 70% |  | 1 | 2 | 3 | 4
Level 3 - 60%
|  | Dry Pond | Underground Unit/Facility | Vegetated Filter | Green Roof / Rooftop Garden
1 |  | Wet Pond | Infiltration Basin | Engineered Grassed Swales (Bio Swale) | Roof Leaders to Ponding Area
2 |  | Engineered Wetland | Pervious Catchbasins |  | Reduced Lot Grading
3 |  | Hybrid Facility | Pervious Pipes |  | Parking Lot Storage
4 |  |  | Infiltration Trench |  | Rooftop Storage
5 |  |  | Roof Leaders to Soakaway Pit
6 |  |  | Superpipe Storage
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
Other (Provide info under other important information)